## CRESST (Base)
Spending Category | Year 1 | Year 2 | Two-Year Total
Pulsed-laser system acquisition | 450000 | 350000 | 800000
Laser installation, safety systems, and lab modifications | 50000 | 50000 | 100000
Winter Garden 200-MeV proton beam time (100 hrs over 2 years) | 100000 | 75000 | 175000
Texas A&M beam time | 50000 | 50000 | 100000
Texas A&M travel—faculty plus five students | 50000 | 50000 | 100000
UCF Materials Characterization Facility and other shared facilities | 40000 | 60000 | 100000
Online professional-certification content (TSS+others) | 200000 | 100000 | 300000
Annual CRESST workshop | 40000 | 40000 | 80000
CRESST conference travel and exhibit booth | 10000 | 10000 | 20000
Consultants and external subject-matter experts | 50000 | 50000 | 100000
FSE/Sandia demonstrations and collaborations (Materials, JPL design support)) | 50000 | 50000 | 100000
Student (2G 4UG no burden) | 110000 | 110000 | 220000
Test hardware, software, dosimetry, fixtures, and shipping | 30000 | 30000 | 60000
Maintenance/contingency reserve | 25000 | 25000 | 50000
Total | 1255000 | 1050000 | 2305000
2305000

## FA Lab
Capability to purchase | Year 1 | Year 2 | Total | Purpose
High-resolution electronics X-ray micro-CT | 650000 |  | 650000 | Package, die-attach, wire-bond, solder-joint, via, crack, void, and foreign-material inspection before opening the part
Semiconductor parameter analyzer and modern curve-tracer system | 325000 |  | 325000 | Pin-to-pin curve tracing, leakage, breakdown, parametric shifts, power-device testing, and pre-/post-radiation comparison
Manual/semi-automatic microprobe stations, switching matrix, sockets, fixtures | 225000 |  | 225000 | Die-level probing, packaged-part interrogation, microprobing, and repeatable fault verification
Thermal/IR and photon-emission fault-localization system |  | 450000 | 450000 | Detect localized shorts, leakage, latch-up damage, current paths, and active die defects
Optical and metallurgical microscopy suite | 175000 |  | 175000 | Bright field, dark field, polarization, low-angle illumination, extended depth of field, image stitching, and evidence documentation
Electronics decapsulation and delidding suite |  | 300000 | 300000 | Chemical jet etch, plasma cleaning, mechanical delidding, package opening, localized coating removal, and evidence-preserving access
Electronics-specific cross-sectioning and sample preparation |  | 225000 | 225000 | Precision sectioning, mounting, grinding, polishing, ion cleaning, die thinning, and package cross sections
Wire-pull and ball/shear bond tester |  | 175000 | 175000 | Quantitative assessment of wire bonds, solder balls, bumps, die attach, and package-interconnect strength
ESD-safe evidence handling, imaging database, secure storage, benches, and fixtures |  | 100000 | 100000 | Chain of custody, controlled handling, photographic records, fixtures, and test-data integration
Facility modifications, utilities, chemical safety, installation, training, and service contracts | 375000 |  | 375000 | Fume extraction, acid-compatible wet bench, chilled water, compressed gases, power conditioning, vibration control, installation, and operator training
Total | 1750000 | 1250000 | 3000000

## WG Upfit
Capability to purchase | Year 1 | Year 2 | Total | Purpose
Outfit Test Cell Proton Facility-WG | 3000000 | 2000000 | 5000000
Total | 3000000 | 2000000 | 5000000

## Cryo_PowerInstrument Electronic
Capability to purchase | Year 1 | Year 2 | Total | Purpose
50Kelvin Capable TVAC w/ 50kV feed throughs | 300000 | 300000 | 600000 | Cability to do medium voltage instrument work
Total | 300000 | 300000 | 600000